Minutes

Meeting of the Village of Spring Green Plan Commission

Wednesday, September 15, 2010

Held at Village Office

154 N. Lexington Street

1.	Prem called meeting to order at 7:23pm.  Members present: Linda Donnelly, Michael Broh, Bob Tennnant, Brad Hutnik, Joel Marcus, Greg Prem.  Lew Averill was absent.

Others present: Ed Lilla, Gary Bechtel, Mark Scoles, Denny Coppernoll, Chad Hunter, Gary Nachreiner.

- Prem appointed minute taker.

- Approve meeting agenda. Motion by Tennant, second by Donnelly, to approve agenda.  Motion passed with all in favor.

- Approve minutes from the August 18, 2010 Plan Commission and Joint Extraterritorial Zoning Committee Meeting. Motion by Marcus, second by Broh, to approve minutes.  Motion passed with all in favor.

- Discussion and possible action on the consideration of a request by River Valley Nursing Home, Inc. for a conditional use permit for an addition to an Assisted Care Facility & Nursing Home in the R-2 District and a conditional use for Yard Reduction from 25 ft. to 23 ft. along Hoxie Street, parcel #0507, 501 S. Winsted Street, Village of Spring Green.  Motion by Tennant, second by Donnelly to approve a Conditional Use for an addition to an Assisted Care Facility & Nursing Home in the R-2 District & a Conditional Use for Yard Reduction from 25 ft. to 23 ft. along Hoxie Street. Approval granted by Plan Commission with the following conditions: The existing garage must be moved to comply with zoning ordinances. Runoff from the relocated garage shall be directed to the adjacent parking area or otherwise away from the neighboring residence subject to the review of the Village Engineer. At a minimum, the site storm water retention shall be designed to account for 100% the difference in runoff volume from a 2 year 24 hour rain event for the predevelopment versus post development conditions. Roof gutters for the addition shall be directed to the proposed “rain garden” to the extent practical. The contractor is to verify connection to the existing sanitary manhole with the Public Works Director prior to construction. The contractor shall not backfill the manhole prior to it being observed by the Public Works Director. The lower leg of the outside drop into the manhole for the sewer lateral connection shall be made 0.1’ above the existing invert. Proposed plans show 716.1’ or almost 1 ft. higher than invert. This shall be lowered per the Public Works Director. The proposed drop manhole detail shall be revised per comments from the Village Engineer and Public Works Director. The Public Works Director shall be present for the backfilling of the sewer trench. The existing pavement shall be saw-cut full depth. The sewer pipe shall be bedded and backfilled according to the Wisconsin Standard Specifications for Sewer. The pavement shall be restored with a minimum of 12 inches of breaker run, 6 inches of aggregate base and 4 inches of asphalt surface. Any construction damage to Village streets or facilities shall be restored by the owner or their contractor.

- Discussion and possible action regarding zoning ordinance changes within the Village to account for 2008 flooding.

The plan commission continued their discussion regarding the impact of the 2008 flooding on the viability of further developing certain parcels in the village.  Specifically identified were parcels 0732, 0733, 0734, and 0735 as well 0757, 0758, 0759, 0760, and 0761 as being susceptible to surface and ground water issues.  These parcels are located along the north side of Sommerset Road.   Parcel 0767 at the intersection of Sommerset and Wood St. was also discussed.  The committee would like to see this parcel converted into a storm water retention area to protect the roadway and adjacent properties during future heavy rain events.

The lots in the Cross Lanes Estates between Bossard and Baker Streets were identified as an area of concern for possible future water penetration below grade.

The street flooding in front of parcel 0781 on N. Westmor Street was also discussed.  Further discussion is planned for next month’s meeting.  No formal action taken.

- General Public Comment. None

- Adjourn. Motion by Tennant, second by Donnelly, to adjourn at 8:40pm.  Motion passed with all in favor.